## DLED
Data Sheet - DEDICATED LED PRODUCT (Tri Colour) | Information from Supplier
CLA Logo Type | CLA GLOBES
Catalogue Category | GLOBES - LED
Peach Group Name | LED
CLA Part Number | GLSTRIBC1 | GLSTRIES1
PART DETAIL
Fitting Detail
IP Rating | 20 | 20
IK Rating | N/A | N/A
Warranty | 2 years | 2 years
Warranty Conditions (if applicable) | N/A | N/A
Suitable for use 24 hours / 7 days a week YES or NO | N/A | N/A
If NO, recommended usage | N/A | N/A
Colour / Shape / Mounting (Recessed or Surface Mounted) | White / GLS | White / GLS
Photograph Product
Photograph Product Lit
Line Drawing
Globe Base | BC(B22) | ES(E27)
Cut Out Size | N/A | N/A
Dimension and weight 1 piece (Length / width and depth) | 111mm x 60mm (38g) | 111mm x 60mm (38g)
Flex and plug YES or NO (Length) | N/A | N/A
Barcode | 9326191036538 | 9326191036545
Country of Manufacture | PRC | PRC
Shade Construction Material | N/A | N/A
Shade Shape | N/A | N/A
Shade (Outer) Colour / Pantone | N/A | N/A
Shade (Inner) Finish (smooth / dimpled etc) | N/A | N/A
Shade (Inner) Colour / Pantone | N/A | N/A
Lampholder Cover Construction Material | N/A | N/A
Lampholder Cover Finish (electroplated or powdercoated) | N/A | N/A
Lampholder Cover Colour / Pantone | N/A | N/A
Cable / Suspension Construction Material | N/A | N/A
Cable / Suspension Colour | N/A | N/A
Cable / Suspension Length(s) | N/A | N/A
Cable / Suspension Adjustable YES or NO | N/A | N/A
Chain / Rod / Spike Construction Material / Colour | N/A | N/A
Chain / Rod / Stand Lengths (and use restrictions if applicable) | N/A | N/A
Chain / Rod / Spike Construction Material | N/A | N/A
Chain / Rod / Spike Dimensions (Number of sections / Dimensions of each L x OD) | N/A | N/A
Screw Material | N/A | N/A
Spring Material | N/A | N/A
Diffuser Construction Material | Plastic | Plastic
Diffuser Dimensions | N/A | N/A
Diffuser Colour | Frosted | Frosted
Maximum Load Capacity / Can be driven over YES or NO | N/A | N/A
Ceiling Canopy Construction Material | N/A | N/A
Ceiling Canopy Finish (electroplated or powdercoated) | N/A | N/A
Ceiling Canopy Colour / Pantone | N/A | N/A
Ceiling Canopy / Base Shape | N/A | N/A
Ceiling Canopy / Base Dimensions (OD X D) | N/A | N/A
Faceplate Construction Material | N/A | N/A
Faceplate Finish (electroplated or powdercoated) | N/A | N/A
Faceplate Colour / Pantone | N/A | N/A
Housing Construction Material | Plastic + Aluminium | Plastic + Aluminium
Housing Finish (electroplated or powdercoated) | N/A | N/A
Housing Colour / Pantone | N/A | N/A
Corrosion Treatment Type | N/A | N/A
Sleeve / Canister Construction Material | N/A | N/A
Sleeve / Canister Dimensions (H X OD) | N/A | N/A
Sleeve / Canister Cutout (H X OD) | N/A | N/A
Mounting Type (Recessed or surface mounted) | N/A | N/A
Adjustable YES or NO | N/A | N/A
Degree of Adjustability / Tilt / Swivel | N/A | N/A
Mounting Plate / Bracket / Base / Back Plate Material | N/A | N/A
Mounting Plate / Bracket / Base / Back Plate Dimensions | N/A | N/A
Photograph or Line Drawing of mounting (rear of fitting or mounting plate with dimensions and screw placement) | N/A | N/A
LED Detail
Wattage | 10W | 10W
Colour changeable YES or NO | YES | YES
If YES, mechanism type (SWITCH on rear / Remote Control etc) | Switch on Housing | Switch on Housing
Kelvin / Colour Temperature(s) (Separate for each kelvin if multi coloured) | 3000K/4000/5000K | 3000K/4000/5000K
Lumens (per Kelvin) | 3000K 729-891Lm 4000K 792-968Lm 5000K 729-891Lm | 3000K 729-891Lm 4000K 792-968Lm 5000K 729-891Lm
LED Chip Manufacturer | N/A | N/A
LED Chip Type | SMD2835 | SMD2835
LED Chip Qty | 16 | 16
Beam Angle | 180° | 180°
CRI | ≥80 | ≥80
Equilavent Incandescent Wattage | 60 | 60
Luminous Efficiency (If available | N/A | N/A
Power Factor | ≥0.5 | ≥0.5
Heat sink Construction Material | PBT | PBT
Ambient Temperature | -20 ~ 40°C | -20 ~ 40°C
The life of the lamp will gradually reduce if used outside these temperature parameters | Yes | Yes
Nominal/Average Lifetime | 20000 Hrs | 20000 Hrs
Control Gear Detail
Driver external (attached with flex and cavity space required) or/ inbuilt (attached or part of fitting - no cavity required) | N/A | N/A
Driver Hardwired OR Plug in Or Battery Operated | N/A | N/A
Driver Dimensions (L X W X D + Flex and Plug Detail) | N/A | N/A
Driver Brand | N/A | N/A
Driver Model (Fuse Resistor / PCB Model) | N/A | N/A
Input Voltage | N/A | N/A
Rated Frequency | N/A | N/A
Driver Input Voltage Range | N/A | N/A
Driver Constant Current or Constant Voltage | N/A | N/A
Driver output voltage | N/A | N/A
Start Character | N/A | N/A
Driver minimum load | N/A | N/A
Driver maximum load | N/A | N/A
Driver Input Current | N/A | N/A
Driver output Current | N/A | N/A
Driver inrush Current | N/A | N/A
Driver Nominal Current | N/A | N/A
Driver Ripple Noise | N/A | N/A
Dimmable YES or NO | NO | NO
Driver dimmable YES or NO | N/A | N/A
Recommended Dimmers / Drivers | N/A | N/A
Recommended Pieces per Dimmer /Driver (minimum and maximum) | N/A | N/A
2 Way Switching YES or NO | YES | YES
Sensor Appropriate YES or NO | YES | YES
Working Temperature
Working Humidity | N/A | N/A
Maximum Output Cable Length | N/A | N/A
Overload Protection YES or NO | N/A | N/A
Thermal Protection YES or NO | N/A | N/A
Short Circuit Protection YES or NO | N/A | N/A
Cable suitable for use with | N/A | N/A
DALI suitable | N/A | N/A
C-BUS suitable | N/A | N/A
SYMBOLS
On/Off Test Result | ≥15000 | ≥15000
Class II (Double insulated) YES or NO | NO | NO
IC-4 rated YES or NO | NO | NO
Dimmable YES or NO | NO | NO
Distributed by : CLA, an AUSTRALIAN OWNED COMPANY
www.clalighting.com.au
Packaging
Package Inclusions (including Hardware components) | 1 X Globe, 1 X WTY Card | 1 X Globe, 1 X WTY Card
Individual Piece Dimensions | 60 x 60 x 115mm | 60 x 60 x 115mm
Individual Piece Weight | 0.0511Kg | 0.0491 Kg
Inner Carton Quantity | 10 | 10
Inner Carton Dimensions | 324 x 132 x 126mm | 324 x 132 x 126mm
Inner Carton Weight | 0.085Kg | 0.085Kg
Outer Carton Quantity | 50 | 50
Outer Carton Dimensions | 693 x 338 x 149mm | 693 x 338 x 149mm
Outer Carton Weight | 0.492 | 0.492