## DLED
Data Sheet - LED Globe | Information from Supplier
CLA Logo Type | CLA GLOBES
Catalogue Category | GLOBES- LED
Peach Group Name | LED
CLA Part Number | LT4012V1 | LT4012V2
PART DETAIL
Fitting Detail
IP Rating | IP20 | IP20
IK Rating | N/A | N/A
Warranty | 2 years | 2 years
Warranty Conditions (if applicable) | N/A | N/A
Suitable for use 24 hours / 7 days a week YES or NO | N/A | N/A
If NO, recommended usage | N/A | N/A
Colour / Shape / Mounting (Recessed or Surface Mounted) | White / E27 | White / E27
Photograph Product
Photograph Product Lit
Line Drawing
Globe Base | E27 | E27
Cut Out Size | N/A | N/A
Dimension and weight 1 piece (Length / width and depth) | L115 x OD37mm 31g | L115 x OD37mm 31g
Flex and plug YES or NO (Length) | N/A | N/A
Barcode | 9326191038105 | 9326191038112
Country of Manufacture | PRC | PRC
Shade Construction Material | N/A | N/A
Shade Shape | N/A | N/A
Shade (Outer) Colour / Pantone | N/A | N/A
Shade (Inner) Finish (smooth / dimpled etc) | N/A | N/A
Shade (Inner) Colour / Pantone | N/A | N/A
Lampholder Cover Construction Material | N/A | N/A
Lampholder Cover Finish (electroplated or powdercoated) | N/A | N/A
Lampholder Cover Colour / Pantone | N/A | N/A
Cable / Suspension Construction Material | N/A | N/A
Cable / Suspension Colour | N/A | N/A
Cable / Suspension Length(s) | N/A | N/A
Cable / Suspension Adjustable YES or NO | N/A | N/A
Chain / Rod / Spike Construction Material / Colour | N/A | N/A
Chain / Rod / Stand Lengths (and use restrictions if applicable) | N/A | N/A
Chain / Rod / Spike Construction Material | N/A | N/A
Chain / Rod / Spike Dimensions (Number of sections / Dimensions of each L x OD) | N/A | N/A
Screw Material | N/A | N/A
Spring Material | N/A | N/A
Diffuser Construction Material | Plastic | Plastic
Diffuser Dimensions | OD34mm x L38mm | OD34mm x L38mm
Diffuser Colour | Frosted | Frosted
Maximum Load Capacity / Can be driven over YES or NO | N/A | N/A
Ceiling Canopy Construction Material | N/A | N/A
Ceiling Canopy Finish (electroplated or powdercoated) | N/A | N/A
Ceiling Canopy Colour / Pantone | N/A | N/A
Ceiling Canopy / Base Shape | N/A | N/A
Ceiling Canopy / Base Dimensions (OD X D) | N/A | N/A
Faceplate Construction Material | N/A | N/A
Faceplate Finish (electroplated or powdercoated) | N/A | N/A
Faceplate Colour / Pantone | N/A | N/A
Housing Construction Material | Plastic | Plastic
Housing Finish (electroplated or powdercoated) | N/A | N/A
Housing Colour / Pantone | White | White
Corrosion Treatment Type | N/A | N/A
Sleeve / Canister Construction Material | N/A | N/A
Sleeve / Canister Dimensions (H X OD) | N/A | N/A
Sleeve / Canister Cutout (H X OD) | N/A | N/A
Mounting Type (Recessed or surface mounted) | N/A | N/A
Adjustable YES or NO | N/A | N/A
Degree of Adjustability / Tilt / Swivel | N/A | N/A
Mounting Plate / Bracket / Base / Back Plate Material | N/A | N/A
Mounting Plate / Bracket / Base / Back Plate Dimensions | N/A | N/A
Photograph or Line Drawing of mounting (rear of fitting or mounting plate with dimensions and screw placement) | N/A | N/A
LED Detail
Wattage | 9W | 9W
Voltage | 12V | 12V
Colour changeable YES or NO | NO | NO
If YES, mechanism type (SWITCH on rear / Remote Control etc) | N/A | N/A
Kelvin / Colour Temperature(s) (Separate for each kelvin if multi coloured) | 3000K | 5000K
Lumens (per Kelvin) | 800 Lm | 800 Lm
LED Chip Manufacturer LED | MLS | MLS
LED Chip Type LED | SMD2835 | SMD2835
LED Chip Qty | 10 | 10
Beam Angle | 200 | 200
CRI | ≥80 | ≥80
Equilavent Incandescent Wattage | 60W | 60W
Luminous Efficiency (If available) | N/A | N/A
Power Factor | ≥0.5 | ≥0.5
Heat sink Construction Material | PBT | PBT
Operating Temperature | -20 ~ 40°C | -20 ~ 40°C
The life of the lamp will gradually reduce if used outside these temperature parameters | Yes | Yes
Nominal/Average Lifetime | 20000 Hrs | 20000 Hrs
Control Gear Detail
Driver external (attached with flex and cavity space required) or/ inbuilt (attached or part of fitting - no cavity required) | N/A | N/A
Driver Hardwired OR Plug in Or Battery Operated | N/A | N/A
Driver Dimensions (L X W X D + Flex and Plug Detail) | N/A | N/A
Driver Brand | N/A | N/A
Driver Model (Fuse Resistor / PCB Model) | N/A | N/A
Input Voltage | N/A | N/A
Rated Frequency | N/A | N/A
Driver Input Voltage Range | N/A | N/A
Driver Constant Current or Constant Voltage | N/A | N/A
Driver output voltage | N/A | N/A
Start Character | N/A | N/A
Driver minimum load | N/A | N/A
Driver maximum load | N/A | N/A
Driver Input Current | N/A | N/A
Driver output Current | N/A | N/A
Driver inrush Current | N/A | N/A
Driver Nominal Current | N/A | N/A
Driver Ripple Noise | N/A | N/A
Dimmable YES or NO | NO | NO
Driver dimmable YES or NO | N/A | N/A
Recommended Dimmers / Drivers | All the CLA Drivers | All the CLA Drivers
Recommended Pieces per Dimmer /Driver (minimum and maximum) | Please check with the electrician | Please check with the electrician
2 Way Switching YES or NO | YES | YES
Sensor Appropriate YES or NO | YES | YES
Working Temperature | YES
Working Humidity | N/A | N/A
Maximum Output Cable Length | N/A | N/A
Overload Protection YES or NO | N/A | N/A
Thermal Protection YES or NO | N/A | N/A
Short Circuit Protection YES or NO | N/A | N/A
Cable suitable for use with | N/A | N/A
DALI suitable | N/A | N/A
C-BUS suitable | N/A | N/A
SYMBOLS
On/Off Test Result | ≥15000 | ≥15000
Class II (Double insulated) YES or NO | NO | NO
IC-4 rated YES or NO | NO | NO
Dimmable YES or NO | NO | NO
Distributed by : CLA, an AUSTRALIAN OWNED COMPANY
www.clalighting.com.au
Packaging
Package Inclusions (including Hardware components) | 1 x Globe, 1x Wty Card | 1 x Globe, 1x Wty Card
Individual Piece Dimensions | 12 x 3.6x 3.6cm | 12 x 3.6x 3.6cm
Individual Piece Weight | 0.05 Kg | 0.05 Kg
Inner Carton Quantity | 10 | 10
Inner Carton Weight | 0.56 Kg | 0.56 Kg
Inner Carton Dimensions | 25 x 8.5 x 12.5cm | 25 x 8.5 x 12.5cm
Outer Carton Quantity | 100 | 100
Outer Carton Weight | 5.9 Kg | 5.9 Kg
Outer Carton Dimensions | 46 x 23 x 28cm | 46 x 23 x 28cm