## Sheet1
Data Sheet - DEDICATED LED PRODUCT | Information from Supplier
CLA Logo Type | CLA GLOBES
Catalogue Category | GLOBES - LED
Peach Group Name | LED
CLA Part Number | MR1601A | MR1602A
PART DETAIL
Fitting Detail
IP Rating | IP40 | IP40
IK Rating | N/A | N/A
Warranty | 1 Year | 1 Year
Warranty Conditions (if applicable) | N/A | N/A
Suitable for use 24 hours / 7 days a week YES or NO | N/A | N/A
If NO, recommended usage | N/A | N/A
Colour / Shape / Mounting (Recessed or Surface Mounted) | White / MR16 | White / MR16
Photograph Product (showing all components incl flex and plug and canopy etc)
Photograph Product Lit
Line Drawing (showing all dimensions - including mounting plate)
Globe Base | GU5.3 | GU5.3
Cut Out Size | N/A | N/A
Dimension and weight 1 piece (Length / width and depth) | L 47.7mm x W 50mm (0.05Kg) | L 47.7mm x W 50mm (0.05Kg)
Flex and plug YES or NO (Length) | N/A | N/A
Barcode | 9326191010699 | 9326191010682
Country of Manufacture | PRC | PRC
Shade Construction Material | N/A | N/A
Shade Shape | N/A | N/A
Shade (Outer) Colour / Pantone | N/A | N/A
Shade (Inner) Finish (smooth / dimpled etc) | N/A | N/A
Shade (Inner) Colour / Pantone | N/A | N/A
Lampholder Cover Construction Material | N/A | N/A
Lampholder Cover Finish (electroplated or powdercoated) | N/A | N/A
Lampholder Cover Colour / Pantone | N/A | N/A
Cable / Suspension Construction Material | N/A | N/A
Cable / Suspension Colour | N/A | N/A
Cable / Suspension Length(s) | N/A | N/A
Chain / Rod / Spike Construction Material / Colour | N/A | N/A
Chain / Rod / Stand Lengths (and use restrictions if applicable) | N/A | N/A
Chain / Rod / Spike Construction Material | N/A | N/A
Chain / Rod / Spike Dimensions (Number of sections / Dimensions of each L x OD) | N/A | N/A
Screw Material | N/A | N/A
Spring Material | N/A | N/A
Diffuser Construction Material | PC | PC
Diffuser Dimensions | N/A | N/A
Diffuser Colour | Frosted | Frosted
Maximum Load Capacity / Can be driven over YES or NO | N/A | N/A
Ceiling Canopy Construction Material | N/A | N/A
Ceiling Canopy Finish (electroplated or powdercoated) | N/A | N/A
Ceiling Canopy Colour / Pantone | N/A | N/A
Ceiling Canopy / Base Shape | N/A | N/A
Ceiling Canopy / Base Dimensions (OD X D) | N/A | N/A
Faceplate Construction Material | N/A | N/A
Faceplate Finish (electroplated or powdercoated) | N/A | N/A
Faceplate Colour / Pantone | N/A | N/A
Housing Construction Material | PBT+ Aluminium | PBT+ Aluminium
Housing Finish (electroplated or powdercoated) | N/A | N/A
Housing Colour / Pantone | White | White
Corrosion Treatment Type | N/A | N/A
Sleeve / Canister Construction Material | N/A | N/A
Sleeve / Canister Dimensions (H X OD) | N/A | N/A
Sleeve / Canister Cutout (H X OD) | N/A | N/A
Mounting Type (Recessed or surface mounted) | N/A | N/A
Adjustable YES or NO | N/A | N/A
Degree of Adjustability / Tilt / Swivel | N/A | N/A
Mounting Plate / Bracket Material | N/A | N/A
Mounting Plate / Bracket Dimensions | N/A | N/A
Photograph or Line Drawing of mounting (rear of fitting or mounting plate with dimensions and screw placement) | N/A | N/A
LED Detail
Wattage | 6W | 6W
Colour changeable YES or NO | NO | NO
If YES, mechanism type (SWITCH on rear / Remote Control etc) | N/A | N/A
Kelvin / Colour Temperature(s) (Separate for each kelvin if multi coloured) | 3000K | 5000K
Lumens (per Kelvin) | 480Lm | 495Lm
LED Chip Manufacturer | San'an | San'an
LED Chip Type | SMD2835 | SMD2835
LED Chip Qty | 6 Pcs | 6 Pcs
Beam Angle | 38° | 38°
CRI | ≥80 | ≥80
Equilavent Incandescent Wattage | 40W | 40W
Luminous Efficiency (If available) | 80Lm/W | >80Lm/W
Power Factor | >0.5 | >0.5
Heat sink Construction Material | Aluminium | Aluminium
Operating Temperature | -15 to 40°C | -15 to 40°C
The life of the lamp will gradually reduce if used outside these temperature parameters | YES | YES
Nominal/Average Lifetime | 25000hrs | 25000hrs
Control Gear Detail
Driver external (attached with flex and cavity space required) or/ inbuilt (attached or part of fitting - no cavity required) | N/A | N/A
Driver Dimensions (L X W X D + Flex and Plug Detail) | N/A | N/A
Driver Brand | N/A | N/A
Driver Model (Fuse Resistor / PCB Model) | N/A | N/A
Input Voltage | N/A | N/A
Rated Frequency | N/A | N/A
Driver Input Voltage Range | N/A | N/A
Driver Constant Current or Constant Voltage | N/A | N/A
Driver output voltage | N/A | N/A
Start Character | N/A | N/A
Driver minimum load | N/A | N/A
Driver maximum load | N/A | N/A
Driver Input Current | N/A | N/A
Driver output Current | N/A | N/A
Driver inrush Current | N/A | N/A
Driver Nominal Current | N/A | N/A
Driver Ripple Noise | N/A | N/A
Dimmable YES or NO | NO | NO
Driver dimmable YES or NO | N/A | N/A
Recommended Dimers / Drivers | Luxman - ETH50.302VA (10-50w) (2-6 pcs) CLA - CLADR12W (1pc) CLA - DRIV1 (1 pc) CLA - OTTER1 (1pc) CLA - CLA111011 (1pc) CLA - CLA113011 (3pcs) CLA - CLA115011 (5pcs) CLA - CLA1110011 (10pcs) CLA - CLA1115011 (15pcs) CLA - CLA11120011 (20pcs) ET-REDBACK (20-60w) (4-9pcs) POSSUM (20-60W) (4-9pcs) | Luxman - ETH50.302VA (10-50w) (2-6 pcs) CLA - CLADR12W (1pc) CLA - DRIV1 (1 pc) CLA - OTTER1 (1pc) CLA - CLA111011 (1pc) CLA - CLA113011 (3pcs) CLA - CLA115011 (5pcs) CLA - CLA1110011 (10pcs) CLA - CLA1115011 (15pcs) CLA - CLA11120011 (20pcs) ET-REDBACK (20-60w) (4-9pcs) POSSUM (20-60W) (4-9pcs)
Recommended Pieces per Dimer / Driver (minimum and maximum) | Refer to list above | Refer to list above
2 Way Switching YES or NO | YES | YES
Sensor Appropriate YES or NO | YES (3 Wire) | YES (3 Wire)
Recommended Sensor | PIR or Microwave | PIR or Microwave
Working Humidity | <= 60% | <= 60%
Maximum Output Cable Length | N/A | N/A
Overload Protection YES or NO | N/A | N/A
Thermal Protection YES or NO | N/A | N/A
Short Circuit Protection YES or NO | N/A | N/A
Cable suitable for use with | N/A | N/A
DALI suitable | N/A | N/A
C-BUS suitable | N/A | N/A
SYMBOLS
On/Off Test Result | 30s on, 30s off, ≥12500 cycles | 30s on, 30s off, ≥12500 cycles
Class II (Double insulated) YES or NO | NO | NO
Dimmable YES or NO | NO | NO
Distributed by : CLA, an AUSTRALIAN OWNED COMPANY
www.clalighting.com.au
Packaging
Individual Piece Dimensions | 5.4cm x 5.4cm x 5.4cm | 5.4cm x 5.4cm x 5.4cm
Individual Piece Weight | 0.058Kg | 0.058Kg
Inner Carton Quantity | 10 | 10
Inner Carton Dimensions | 28.5cm x 11.5cm x 6.5cm | 28.5cm x 11.5cm x 6.5cm
Inner Carton Weight | 0.6Kg | 0.6Kg
Outer Carton Quantity | 100 | 100
Outer Carton Dimensions | 61cm x 30cm x 15.5cm | 61cm x 30cm x 15.5cm
Outer Carton Weight | 6.4Kg | 6.4Kg