| Safety Meeting Record Form |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Company Name |  |  |  | Meeting Number |  |  |  |
| Regulation Ref # |  |  |  | Topic |  |  | Fire Prevention |
| Fire Prevention – Fire Extinguisher Inspections |  |  |  |  |  |  |  |
| - Fire extinguishers should be inspected monthly, and these inspections should include: - Is each extinguisher in its designated place, clearly visible, and not blocked by equipment, or other objects that could interfere with access during an emergency? - Is the nameplate with operating instructions legible and facing outward? - Is the pressure gauge showing that the extinguisher is fully charged (the needle should be in the green zone)? - Is the pin and tamper seal intact? - Is the extinguisher in good condition and showing no signs of physical damage, corrosion, or leakage? - Have all dry powder extinguishers been gently rocked top to bottom to make sure the powder is not packing? - Walkthrough a fire extinguisher inspection. |  |  |  |  |  |  |  |
| Additional Notes |  |  | Meeting Documentation |  |  |  |  |
| List any special requirements for this work group or any additional topics discussed. |  |  | Meeting Date / Time |  |  |  |  |
| ________________________________________ ________________________________________ ________________________________________ ________________________________________ ________________________________________ ________________________________________ ________________________________________ ________________________________________ |  |  | Meeting Leader |  |  |  |  |
|  |  |  | Work Area |  |  |  |  |
|  |  |  | Attendees |  |  |  |  |
| Additional Information |  |  |  |  |  |  |  |
| SDS Reviewed |  |  | Accident Report Reviewed |  |  |  |  |
| Procedure Reviewed |  |  | Policy Reviewed |  |  |  |  |