| Safety Meeting Record Form |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Company Name |  |  |  | Meeting Number |  |  |  |
| Regulation Ref # | 1910.251-255 |  |  | Topic |  |  | Welding |
| Welding, Cutting, Brazing – Safe Work Practices |  |  |  |  |  |  |  |
| - Wear proper, welding rated, PPE that includes: - Heat and impact resistant eye and face protection. - Clothing that is rated against sparks and covers the skin. - Leather coverings for very hot work. - Dry welder’s gloves for arc welding. - Respirators to prevent inhaling dangerous fumes. - Be familiar with the equipment manual, the safety data sheets, and cylinder labels. - Areas that welding is performed in must be fire proof or fire protected with flame shields. - Removable flammable items, such as trash and paper, from welding areas. - Make sure that the ventilation is adequate, and is set to blow fumes away. Cover any ducts that may carry sparks. - Set a fire watch, who is trained on recognizing fire hazards and using the extinguisher. - Never smoke in a welding area. - Welding work in confined spaces must be authorized with a confined space permit. |  |  |  |  |  |  |  |
| Additional Notes |  |  | Meeting Documentation |  |  |  |  |
| List any special requirements for this work group or any additional topics discussed. |  |  | Meeting Date / Time |  |  |  |  |
| ________________________________________ ________________________________________ ________________________________________ ________________________________________ ________________________________________ ________________________________________ ________________________________________ ________________________________________ |  |  | Meeting Leader |  |  |  |  |
|  |  |  | Work Area |  |  |  |  |
|  |  |  | Attendees |  |  |  |  |
| Additional Information |  |  |  |  |  |  |  |
| SDS Reviewed |  |  | Accident Report Reviewed |  |  |  |  |
| Procedure Reviewed |  |  | Policy Reviewed |  |  |  |  |