LUMINAIRE DATA SHEET


	Rx-30L
	LEGEND
	QTY

	
	
	

	LOCATION
	- 

	LUMINAIRE DESCRIPTION: Adam-Lite RX-30L (30W LED) IP44 Die-Cast Aluminium Recessed Round Downlight c/w Lamp and Remote Non-Dim Driver.

	IMAGES / DIMENSIONS

	[image: image1.png]@240





	[image: image2.png]RX-30L





	[image: image3.png]Luminous Intensity Distribution Curve:





	

	TECHNICAL SPECIFICATION

	Brand / Model
:  ADAM-LITE / RX-30L
Lamp Source
:  1 X 30W LED MODULES
Lamp Output
:  2,700 LUMENS

Avg Lamp Life
:  50,000 BURNING HOURS

Control Gear
:  REMOTE NON-DIM DRIVER
Housing Material
:  DIE-CAST ALUMINIUM
Diffuser
:  OPAL DIFFUSER
IP Rating
:  IP44

	


