VTB Software Comparison Chart

| Feature | Video Toolbox PC | Video Toolbox PRO PC | Video Toolbox Premier PC | MiTools Mac SW |
| --- | --- | --- | --- | --- |
| View and enhance live images on PC | . | . | . | . |
| Capture still or moving images, or time lapse | . | . | . | . |
| Capture time lapse | . | . | . |  |
| Labels, markers, time stamps on live image | . | . | . | . |
| Draw freehand and overlay graphics: reticle/ruler on live image | . | . | . | . |
| Live zoom without pixilation up to 4x and fit to screen. | . | . | . | . |
| Camera and light settings adjustment. | . | . | . | . |
| Export images to other applications including Photoshop. | . | . | . | . |
| Measure on live image and calibrate using click and drag point | . | . | . | . |
| Support for optional software plugins: GPS, Particle Counter and Foot Switch capture software. | . | . | . |  |
| Focuslock plugin optional for enhanced depth of field | . | . | . |  |
| Enhanced measurement tools: click and drag tools for radius, angle, distance, arc radius, angle. |  | . | . |  |
| Relational measurement: object to object distance |  | . | . |  |
| Reset coordinate system |  | . | . |  |
| Picture in picture |  | . | . |  |
| Freeze frame image capture |  | . | . |  |
| Non-destructive overlays |  | . | . |  |
| Annotate and measure images after capturing |  | . | . |  |
| Export to Microsoft excel |  | . | . |  |
| Saves Calibration settings |  | Up to 16 calibration settings | up to 16 calibration settings |  |
| CaliWedge option for one button software calibration |  | With optional CaliWedge Software (VTB Premier recommended) | With optional CaliWedge Software |  |
| Side by side comparison |  |  | . |  |
| Edge Detection |  |  | . |  |
| Calibrated overlays |  |  | . |  |
| CAD file overlays |  |  | With optional plug-in |  |
| Multi-point shape fitting |  |  | . |  |
| Un-distort function |  |  | . |  |
| Magnifier window |  |  | . |  |
| Arrow-key and mouse wheel control for precise measurement |  |  | . |  |
| Filters to isolate single color components |  |  | . |  |